## Report
Analysis Report
Division of Minerals
Particle Analysis Service
Sample Name: |  | S9
Batch No: |  | R058883
PAS ID No: |  | P47980
Dispersant: |  | Water | [5 empty] | SOP Name:
Additives: |  | 10 millilitres sodium hexametaphosphate | [5 empty] | Analysis Model: |  |  | General purpose
Sonication: |  | 20 minutes ultrasonic bath | [5 empty] | Result units: |  |  | Volume
Concentration: |  | 0.0114 % vol |  | Vol. Weighted Mean D[4,3]: |  |  |  | 123.964 | µm |  | d(0.1): |  | 1.59 | µm
Obscuration: |  | 17.51 % |  | Surface Weighted Mean D[3,2]: |  |  |  | 5.134 | µm |  | d(0.5): |  | 57.092 | µm
Weighted Residual: |  | 1.466 % |  | Specific Surface Area: |  |  |  | 1.17 | m2/cc |  | P80: |  | 251.649 | µm
[11 empty] | d(0.9): |  | 360.899 | µm
Size (µm) | Vol Under % | Size (µm) | Vol Under % |  | Size (µm) | Vol Under % | Size (µm) | Vol Under % |  | Size (µm) | Vol Under % |  | Size (µm) | Vol Under %
0.02 | 0 | 0.14159 | 0 |  | 1.0024 | 4.9779 | 7.0963 | 29.9191 |  | 50.2377 | 48.352 |  | 355.6559 | 89.605
0.02244 | 0 | 0.15887 | 0 |  | 1.1247 | 6.0825 | 7.9621 | 31.2245 |  | 56.3677 | 49.8273 |  | 399.0525 | 92.604
0.025179 | 0 | 0.17825 | 0 |  | 1.2619 | 7.2893 | 8.9337 | 32.4934 |  | 63.2456 | 51.4627 |  | 447.7442 | 95.2627
0.028251 | 0 | 0.2 | 0 |  | 1.4159 | 8.5944 | 10.0237 | 33.728 |  | 70.9627 | 53.2558 |  | 502.3773 | 97.4377
0.031698 | 0 | 0.2244 | 0 |  | 1.5887 | 9.9888 | 11.2468 | 34.926 |  | 79.6214 | 55.1902 |  | 563.6766 | 99.0104
0.035566 | 0 | 0.25178 | 0 |  | 1.7825 | 11.4636 | 12.6191 | 36.0832 |  | 89.3367 | 57.2455 |  | 632.4555 | 99.8305
0.039905 | 0 | 0.28251 | 0 |  | 2 | 13.0047 | 14.1589 | 37.1931 |  | 100.2374 | 59.3994 |  | 709.6268 | 100
0.044774 | 0 | 0.31698 | 0 |  | 2.244 | 14.597 | 15.8866 | 38.2509 |  | 112.4683 | 61.6331 |  | 796.2143 | 100
0.050238 | 0 | 0.35566 | 0 |  | 2.5179 | 16.2227 | 17.825 | 39.2551 |  | 126.1915 | 63.9375 |  | 893.3672 | 100
0.056368 | 0 | 0.39905 | 0.13246 |  | 2.8251 | 17.8633 | 20 | 40.2091 |  | 141.5892 | 66.3142 |  | 1002.3745 | 100
0.063246 | 0 | 0.44774 | 0.34518 |  | 3.1698 | 19.5008 | 22.4404 | 41.1237 |  | 158.8656 | 68.7808 |  | 1124.6826 | 100
0.070963 | 0 | 0.50238 | 0.67784 |  | 3.5566 | 21.1193 | 25.1785 | 42.0147 |  | 178.2502 | 71.3608 |  | 1261.9147 | 100
0.079621 | 0 | 0.56368 | 1.1095 |  | 3.9905 | 22.7044 | 28.2508 | 42.9049 |  | 200 | 74.0838 |  | 1415.8916 | 100
0.089337 | 0 | 0.63246 | 1.6561 |  | 4.4774 | 24.2469 | 31.6979 | 43.8215 |  | 224.4037 | 76.969 |  | 1588.6565 | 100
0.10024 | 0 | 0.70963 | 2.317 |  | 5.0238 | 25.7399 | 35.5656 | 44.795 |  | 251.7851 | 80.0146 |  | 1782.5019 | 100
0.11247 | 0 | 0.79621 | 3.0925 |  | 5.6368 | 27.1815 | 39.9052 | 45.8561 |  | 282.5075 | 83.1892 |  | 2000 | 100
0.12619 | 0 | 0.89337 | 3.9804 |  | 6.3246 | 28.5733 | 44.7744 | 47.0344 |  | 316.9786 | 86.4222
2026-07-29

## Summary
Division of Minerals | Particle Analysis Service
Analysis Report |  |  | Differential Data |  | Cumulative Data
|  | Lower Size | Upper Size | % in Interval | Size | % Passing
Sample Name: | S9 | (µm) | (µm) |  | (µm)
Report No: | R058883 | 0.02 | 0.02244 | 0 | 0.02244 | 0
PAS ID No: | P47980 | 0.02244 | 0.025179 | 0 | 0.025179 | 0
Analysis Date | Thursday, 7 July 2005 2:26:13 PM | 0.025179 | 0.028251 | 0 | 0.028251 | 0
|  | 0.028251 | 0.031698 | 0 | 0.031698 | 0
Dispersant | Water | 0.031698 | 0.035566 | 0 | 0.035566 | 0
Additives | 10 millilitres sodium hexametaphosphate | 0.035566 | 0.039905 | 0 | 0.039905 | 0
Sonication | 20 minutes ultrasonic bath | 0.039905 | 0.044774 | 0 | 0.044774 | 0
|  | 0.044774 | 0.050238 | 0 | 0.050238 | 0
Concentration (% vol) | 0.0114 | 0.050238 | 0.056368 | 0 | 0.056368 | 0
Obscuration (%) | 17.51 | 0.056368 | 0.063246 | 0 | 0.063246 | 0
Residual (%) | 1.466 | 0.063246 | 0.070963 | 0 | 0.070963 | 0
|  | 0.070963 | 0.079621 | 0 | 0.079621 | 0
SOP Name |  | 0.079621 | 0.089337 | 0 | 0.089337 | 0
Analysis Model | General purpose | 0.089337 | 0.10024 | 0 | 0.10024 | 0
Result Units | Volume | 0.10024 | 0.11247 | 0 | 0.11247 | 0
|  | 0.11247 | 0.12619 | 0 | 0.12619 | 0
D[4,3] (µm) | 123.964 | 0.12619 | 0.14159 | 0 | 0.14159 | 0
D[3,2] (µm) | 5.134 | 0.14159 | 0.15887 | 0 | 0.15887 | 0
Sp. Surface Area (m2/cc) | 1.17 | 0.15887 | 0.17825 | 0 | 0.17825 | 0
|  | 0.17825 | 0.2 | 0 | 0.2 | 0
D(0.1) (µm) | 1.59 | 0.2 | 0.2244 | 0 | 0.2244 | 0
D(0.5) (µm) | 57.092 | 0.2244 | 0.25178 | 0 | 0.25178 | 0
D(0.9) (µm) | 360.899 | 0.25178 | 0.28251 | 0 | 0.28251 | 0
p80 (µm) | 251.649 | 0.28251 | 0.31698 | 0 | 0.31698 | 0
|  | 0.31698 | 0.35566 | 0 | 0.35566 | 0
|  | 0.35566 | 0.39905 | 0.13246 | 0.39905 | 0.13246
|  | 0.39905 | 0.44774 | 0.21272 | 0.44774 | 0.34518
|  | 0.44774 | 0.50238 | 0.33265 | 0.50238 | 0.67784
|  | 0.50238 | 0.56368 | 0.43162 | 0.56368 | 1.1095
|  | 0.56368 | 0.63246 | 0.54665 | 0.63246 | 1.6561
|  | 0.63246 | 0.70963 | 0.66091 | 0.70963 | 2.317
|  | 0.70963 | 0.79621 | 0.7755 | 0.79621 | 3.0925
|  | 0.79621 | 0.89337 | 0.88787 | 0.89337 | 3.9804
|  | 0.89337 | 1.0024 | 0.99748 | 1.0024 | 4.9779
|  | 1.0024 | 1.1247 | 1.1046 | 1.1247 | 6.0825
|  | 1.1247 | 1.2619 | 1.2068 | 1.2619 | 7.2893
|  | 1.2619 | 1.4159 | 1.3052 | 1.4159 | 8.5944
|  | 1.4159 | 1.5887 | 1.3943 | 1.5887 | 9.9888
|  | 1.5887 | 1.7825 | 1.4748 | 1.7825 | 11.4636
|  | 1.7825 | 2 | 1.5411 | 2 | 13.0047
|  | 2 | 2.244 | 1.5923 | 2.244 | 14.597
|  | 2.244 | 2.5179 | 1.6257 | 2.5179 | 16.2227
|  | 2.5179 | 2.8251 | 1.6406 | 2.8251 | 17.8633
|  | 2.8251 | 3.1698 | 1.6376 | 3.1698 | 19.5008
|  | 3.1698 | 3.5566 | 1.6185 | 3.5566 | 21.1193
|  | 3.5566 | 3.9905 | 1.5852 | 3.9905 | 22.7044
|  | 3.9905 | 4.4774 | 1.5424 | 4.4774 | 24.2469
|  | 4.4774 | 5.0238 | 1.493 | 5.0238 | 25.7399
|  | 5.0238 | 5.6368 | 1.4417 | 5.6368 | 27.1815
|  | 5.6368 | 6.3246 | 1.3918 | 6.3246 | 28.5733
|  | 6.3246 | 7.0963 | 1.3458 | 7.0963 | 29.9191
|  | 7.0963 | 7.9621 | 1.3055 | 7.9621 | 31.2245
|  | 7.9621 | 8.9337 | 1.2688 | 8.9337 | 32.4934
|  | 8.9337 | 10.0237 | 1.2346 | 10.0237 | 33.728
|  | 10.0237 | 11.2468 | 1.1981 | 11.2468 | 34.926
|  | 11.2468 | 12.6191 | 1.1571 | 12.6191 | 36.0832
|  | 12.6191 | 14.1589 | 1.1099 | 14.1589 | 37.1931
|  | 14.1589 | 15.8866 | 1.0578 | 15.8866 | 38.2509
|  | 15.8866 | 17.825 | 1.0043 | 17.825 | 39.2551
|  | 17.825 | 20 | 0.954 | 20 | 40.2091
|  | 20 | 22.4404 | 0.91455 | 22.4404 | 41.1237
|  | 22.4404 | 25.1785 | 0.89102 | 25.1785 | 42.0147
|  | 25.1785 | 28.2508 | 0.89016 | 28.2508 | 42.9049
|  | 28.2508 | 31.6979 | 0.91664 | 31.6979 | 43.8215
|  | 31.6979 | 35.5656 | 0.97349 | 35.5656 | 44.795
|  | 35.5656 | 39.9052 | 1.0611 | 39.9052 | 45.8561
|  | 39.9052 | 44.7744 | 1.1784 | 44.7744 | 47.0344
|  | 44.7744 | 50.2377 | 1.3176 | 50.2377 | 48.352
|  | 50.2377 | 56.3677 | 1.4753 | 56.3677 | 49.8273
|  | 56.3677 | 63.2456 | 1.6354 | 63.2456 | 51.4627
|  | 63.2456 | 70.9627 | 1.7931 | 70.9627 | 53.2558
|  | 70.9627 | 79.6214 | 1.9344 | 79.6214 | 55.1902
|  | 79.6214 | 89.3367 | 2.0553 | 89.3367 | 57.2455
|  | 89.3367 | 100.2374 | 2.154 | 100.2374 | 59.3994
|  | 100.2374 | 112.4683 | 2.2336 | 112.4683 | 61.6331
|  | 112.4683 | 126.1915 | 2.3044 | 126.1915 | 63.9375
|  | 126.1915 | 141.5892 | 2.3768 | 141.5892 | 66.3142
|  | 141.5892 | 158.8656 | 2.4665 | 158.8656 | 68.7808
|  | 158.8656 | 178.2502 | 2.5801 | 178.2502 | 71.3608
|  | 178.2502 | 200 | 2.723 | 200 | 74.0838
|  | 200 | 224.4037 | 2.8852 | 224.4037 | 76.969
|  | 224.4037 | 251.7851 | 3.0457 | 251.7851 | 80.0146
|  | 251.7851 | 282.5075 | 3.1746 | 282.5075 | 83.1892
|  | 282.5075 | 316.9786 | 3.2329 | 316.9786 | 86.4222
|  | 316.9786 | 355.6559 | 3.1829 | 355.6559 | 89.605
|  | 355.6559 | 399.0525 | 2.999 | 399.0525 | 92.604
|  | 399.0525 | 447.7442 | 2.6587 | 447.7442 | 95.2627
|  | 447.7442 | 502.3773 | 2.175 | 502.3773 | 97.4377
|  | 502.3773 | 563.6766 | 1.5727 | 563.6766 | 99.0104
|  | 563.6766 | 632.4555 | 0.82009 | 632.4555 | 99.8305
|  | 632.4555 | 709.6268 | 0.16951 | 709.6268 | 100
|  | 709.6268 | 796.2143 | 0 | 796.2143 | 100
|  | 796.2143 | 893.3672 | 0 | 893.3672 | 100
|  | 893.3672 | 1002.3745 | 0 | 1002.3745 | 100
|  | 1002.3745 | 1124.6826 | 0 | 1124.6826 | 100
|  | 1124.6826 | 1261.9147 | 0 | 1261.9147 | 100
|  | 1261.9147 | 1415.8916 | 0 | 1415.8916 | 100
|  | 1415.8916 | 1588.6565 | 0 | 1588.6565 | 100
|  | 1588.6565 | 1782.5019 | 0 | 1782.5019 | 100
|  | 1782.5019 | 2000 | 0 | 2000 | 100

## Data
Sample Name | Sample source | Sample bulk lot ref | SOP Name | Operator name | Measurement date and time | Particle name | Particle refractive index | Particle absorption index | Dispersant name | Analysis model | Start result channel size | Last result channel size | Result emulation | Obscuration | Concentration | Predispersant name | Predispersant quantity | Predispersant units | Result transform type | Surfactant/Additive quantity | Surfactant/Additive units | Surfactant/Additive name | D [4, 3] - Volume weighted mean | Uniformity | Specific surface area | D [3, 2] - Surface weighted mean | d (0.1) | d (0.5) | d (0.9) | d (0.8) | Residual | Sizes | [100 empty] | Result Between User Sizes | [99 empty] | Result Above 10.000 µm
S9 | R058883 | P47980 |  | pas-wf | Thursday, 7 July 2005 2:26:13 PM | 2207 | 2.74 | 0.1 | Water | General purpose | 0.02 | 2000 | Off | 17.51 | 0.0114 | ultrasonic bath | 20 | minutes | Volume | 10 | millilitres | sodium hexametaphosphate | 123.964 | 1.97 | 1.17 | 5.134 | 1.59 | 57.092 | 360.899 | 251.649 | 1.466 | 0.02 | 0.02244 | 0.025179 | 0.028251 | 0.031698 | 0.035566 | 0.039905 | 0.044774 | 0.050238 | 0.056368 | 0.063246 | 0.070963 | 0.079621 | 0.089337 | 0.10024 | 0.11247 | 0.12619 | 0.14159 | 0.15887 | 0.17825 | 0.2 | 0.2244 | 0.25178 | 0.28251 | 0.31698 | 0.35566 | 0.39905 | 0.44774 | 0.50238 | 0.56368 | 0.63246 | 0.70963 | 0.79621 | 0.89337 | 1.0024 | 1.1247 | 1.2619 | 1.4159 | 1.5887 | 1.7825 | 2 | 2.244 | 2.5179 | 2.8251 | 3.1698 | 3.5566 | 3.9905 | 4.4774 | 5.0238 | 5.6368 | 6.3246 | 7.0963 | 7.9621 | 8.9337 | 10.0237 | 11.2468 | 12.6191 | 14.1589 | 15.8866 | 17.825 | 20 | 22.4404 | 25.1785 | 28.2508 | 31.6979 | 35.5656 | 39.9052 | 44.7744 | 50.2377 | 56.3677 | 63.2456 | 70.9627 | 79.6214 | 89.3367 | 100.2374 | 112.4683 | 126.1915 | 141.5892 | 158.8656 | 178.2502 | 200 | 224.4037 | 251.7851 | 282.5075 | 316.9786 | 355.6559 | 399.0525 | 447.7442 | 502.3773 | 563.6766 | 632.4555 | 709.6268 | 796.2143 | 893.3672 | 1002.3745 | 1124.6826 | 1261.9147 | 1415.8916 | 1588.6565 | 1782.5019 | 2000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.13246 | 0.21272 | 0.33265 | 0.43162 | 0.54665 | 0.66091 | 0.7755 | 0.88787 | 0.99748 | 1.1046 | 1.2068 | 1.3052 | 1.3943 | 1.4748 | 1.5411 | 1.5923 | 1.6257 | 1.6406 | 1.6376 | 1.6185 | 1.5852 | 1.5424 | 1.493 | 1.4417 | 1.3918 | 1.3458 | 1.3055 | 1.2688 | 1.2346 | 1.1981 | 1.1571 | 1.1099 | 1.0578 | 1.0043 | 0.954 | 0.91455 | 0.89102 | 0.89016 | 0.91664 | 0.97349 | 1.0611 | 1.1784 | 1.3176 | 1.4753 | 1.6354 | 1.7931 | 1.9344 | 2.0553 | 2.154 | 2.2336 | 2.3044 | 2.3768 | 2.4665 | 2.5801 | 2.723 | 2.8852 | 3.0457 | 3.1746 | 3.2329 | 3.1829 | 2.999 | 2.6587 | 2.175 | 1.5727 | 0.82009 | 0.16951 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 66.297

## Differential Data - Printable
Analysis Report
Division of Minerals
Particle Analysis Service
Sample Name: |  | S9
Batch No: |  | R058883
PAS ID No: |  | P47980
Dispersant: |  | Water | [5 empty] | SOP Name:
Additives: |  | 10 millilitres sodium hexametaphosphate | [5 empty] | Analysis Model: |  | General purpose
Sonication: |  | 20 minutes ultrasonic bath | [5 empty] | Result units |  | Volume
Concentration: |  | 0.0114 % vol |  | Vol. Weighted Mean D[4,3]: |  |  |  | 123.964 | µm | d(0.1): | 1.59 µm
Obscuration: |  | 17.51 % |  | Surface Weighted Mean D[3,2]: |  |  |  | 5.134 | µm | d(0.5): | 57.092 µm
Residual: |  | 1.466 % |  | Specific Surface Area: |  |  |  | 1.17 | m2/cc | d(0.9): | 360.899 µm
[10 empty] | P80: | 251.649 µm
Min Size (µm) | Max Size (µm) | % In Interval | Min Size (µm) | Max Size (µm) | % In Interval | Min Size (µm) | Max Size (µm) | % In Interval | Min Size (µm) | Max Size (µm) | % In Interval
0.02 | 0.02244 | 0 | 0.35566 | 0.39905 | 0.13246 | 6.3246 | 7.0963 | 1.3458 | 112.4683 | 126.1915 | 2.3044
0.02244 | 0.025179 | 0 | 0.39905 | 0.44774 | 0.21272 | 7.0963 | 7.9621 | 1.3055 | 126.1915 | 141.5892 | 2.3768
0.025179 | 0.028251 | 0 | 0.44774 | 0.50238 | 0.33265 | 7.9621 | 8.9337 | 1.2688 | 141.5892 | 158.8656 | 2.4665
0.028251 | 0.031698 | 0 | 0.50238 | 0.56368 | 0.43162 | 8.9337 | 10.0237 | 1.2346 | 158.8656 | 178.2502 | 2.5801
0.031698 | 0.035566 | 0 | 0.56368 | 0.63246 | 0.54665 | 10.0237 | 11.2468 | 1.1981 | 178.2502 | 200 | 2.723
0.035566 | 0.039905 | 0 | 0.63246 | 0.70963 | 0.66091 | 11.2468 | 12.6191 | 1.1571 | 200 | 224.4037 | 2.8852
0.039905 | 0.044774 | 0 | 0.70963 | 0.79621 | 0.7755 | 12.6191 | 14.1589 | 1.1099 | 224.4037 | 251.7851 | 3.0457
0.044774 | 0.050238 | 0 | 0.79621 | 0.89337 | 0.88787 | 14.1589 | 15.8866 | 1.0578 | 251.7851 | 282.5075 | 3.1746
0.050238 | 0.056368 | 0 | 0.89337 | 1.0024 | 0.99748 | 15.8866 | 17.825 | 1.0043 | 282.5075 | 316.9786 | 3.2329
0.056368 | 0.063246 | 0 | 1.0024 | 1.1247 | 1.1046 | 17.825 | 20 | 0.954 | 316.9786 | 355.6559 | 3.1829
0.063246 | 0.070963 | 0 | 1.1247 | 1.2619 | 1.2068 | 20 | 22.4404 | 0.91455 | 355.6559 | 399.0525 | 2.999
0.070963 | 0.079621 | 0 | 1.2619 | 1.4159 | 1.3052 | 22.4404 | 25.1785 | 0.89102 | 399.0525 | 447.7442 | 2.6587
0.079621 | 0.089337 | 0 | 1.4159 | 1.5887 | 1.3943 | 25.1785 | 28.2508 | 0.89016 | 447.7442 | 502.3773 | 2.175
0.089337 | 0.10024 | 0 | 1.5887 | 1.7825 | 1.4748 | 28.2508 | 31.6979 | 0.91664 | 502.3773 | 563.6766 | 1.5727
0.10024 | 0.11247 | 0 | 1.7825 | 2 | 1.5411 | 31.6979 | 35.5656 | 0.97349 | 563.6766 | 632.4555 | 0.82009
0.11247 | 0.12619 | 0 | 2 | 2.244 | 1.5923 | 35.5656 | 39.9052 | 1.0611 | 632.4555 | 709.6268 | 0.16951
0.12619 | 0.14159 | 0 | 2.244 | 2.5179 | 1.6257 | 39.9052 | 44.7744 | 1.1784 | 709.6268 | 796.2143 | 0
0.14159 | 0.15887 | 0 | 2.5179 | 2.8251 | 1.6406 | 44.7744 | 50.2377 | 1.3176 | 796.2143 | 893.3672 | 0
0.15887 | 0.17825 | 0 | 2.8251 | 3.1698 | 1.6376 | 50.2377 | 56.3677 | 1.4753 | 893.3672 | 1002.3745 | 0
0.17825 | 0.2 | 0 | 3.1698 | 3.5566 | 1.6185 | 56.3677 | 63.2456 | 1.6354 | 1002.3745 | 1124.6826 | 0
0.2 | 0.2244 | 0 | 3.5566 | 3.9905 | 1.5852 | 63.2456 | 70.9627 | 1.7931 | 1124.6826 | 1261.9147 | 0
0.2244 | 0.25178 | 0 | 3.9905 | 4.4774 | 1.5424 | 70.9627 | 79.6214 | 1.9344 | 1261.9147 | 1415.8916 | 0
0.25178 | 0.28251 | 0 | 4.4774 | 5.0238 | 1.493 | 79.6214 | 89.3367 | 2.0553 | 1415.8916 | 1588.6565 | 0
0.28251 | 0.31698 | 0 | 5.0238 | 5.6368 | 1.4417 | 89.3367 | 100.2374 | 2.154 | 1588.6565 | 1782.5019 | 0
0.31698 | 0.35566 | 0 | 5.6368 | 6.3246 | 1.3918 | 100.2374 | 112.4683 | 2.2336 | 1782.5019 | 2000 | 0

## Transposed Data
Sample Name | S9
Sample source | R058883
Sample bulk lot ref | P47980
SOP Name | 0
Operator name | pas-wf
Measurement date and time | Thursday, 7 July 2005 2:26:13 PM
Particle name | 2207
Particle refractive index | 2.74
Particle absorption index | 0.1
Dispersant name | Water
Analysis model | General purpose
Start result channel size | 0.02
Last result channel size | 2000
Result emulation | Off
Obscuration | 17.51
Concentration | 0.0114
Predispersant name | ultrasonic bath
Predispersant quantity | 20
Predispersant units | minutes
Result transform type | Volume
Surfactant/Additive quantity | 10
Surfactant/Additive units | millilitres
Surfactant/Additive name | sodium hexametaphosphate
D [4, 3] - Volume weighted mean | 123.964
Uniformity | 1.97
Specific surface area | 1.17
D [3, 2] - Surface weighted mean | 5.134
d (0.1) | 1.59
d (0.5) | 57.092
d (0.9) | 360.899
d (0.8) | 251.649
Residual | 1.466
Sizes | 0.02
0 | 0.02244
0 | 0.025179
0 | 0.028251
0 | 0.031698
0 | 0.035566
0 | 0.039905
0 | 0.044774
0 | 0.050238
0 | 0.056368
0 | 0.063246
0 | 0.070963
0 | 0.079621
0 | 0.089337
0 | 0.10024
0 | 0.11247
0 | 0.12619
0 | 0.14159
0 | 0.15887
0 | 0.17825
0 | 0.2
0 | 0.2244
0 | 0.25178
0 | 0.28251
0 | 0.31698
0 | 0.35566
0 | 0.39905
0 | 0.44774
0 | 0.50238
0 | 0.56368
0 | 0.63246
0 | 0.70963
0 | 0.79621
0 | 0.89337
0 | 1.0024
0 | 1.1247
0 | 1.2619
0 | 1.4159
0 | 1.5887
0 | 1.7825
0 | 2
0 | 2.244
0 | 2.5179
0 | 2.8251
0 | 3.1698
0 | 3.5566
0 | 3.9905
0 | 4.4774
0 | 5.0238
0 | 5.6368
0 | 6.3246
0 | 7.0963
0 | 7.9621
0 | 8.9337
0 | 10.0237
0 | 11.2468
0 | 12.6191
0 | 14.1589
0 | 15.8866
0 | 17.825
0 | 20
0 | 22.4404
0 | 25.1785
0 | 28.2508
0 | 31.6979
0 | 35.5656
0 | 39.9052
0 | 44.7744
0 | 50.2377
0 | 56.3677
0 | 63.2456
0 | 70.9627
0 | 79.6214
0 | 89.3367
0 | 100.2374
0 | 112.4683
0 | 126.1915
0 | 141.5892
0 | 158.8656
0 | 178.2502
0 | 200
0 | 224.4037
0 | 251.7851
0 | 282.5075
0 | 316.9786
0 | 355.6559
0 | 399.0525
0 | 447.7442
0 | 502.3773
0 | 563.6766
0 | 632.4555
0 | 709.6268
0 | 796.2143
0 | 893.3672
0 | 1002.3745
0 | 1124.6826
0 | 1261.9147
0 | 1415.8916
0 | 1588.6565
0 | 1782.5019
0 | 2000
Result Between User Sizes | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0.13246
0 | 0.21272
0 | 0.33265
0 | 0.43162
0 | 0.54665
0 | 0.66091
0 | 0.7755
0 | 0.88787
0 | 0.99748
0 | 1.1046
0 | 1.2068
0 | 1.3052
0 | 1.3943
0 | 1.4748
0 | 1.5411
0 | 1.5923
0 | 1.6257
0 | 1.6406
0 | 1.6376
0 | 1.6185
0 | 1.5852
0 | 1.5424
0 | 1.493
0 | 1.4417
0 | 1.3918
0 | 1.3458
0 | 1.3055
0 | 1.2688
0 | 1.2346
0 | 1.1981
0 | 1.1571
0 | 1.1099
0 | 1.0578
0 | 1.0043
0 | 0.954
0 | 0.91455
0 | 0.89102
0 | 0.89016
0 | 0.91664
0 | 0.97349
0 | 1.0611
0 | 1.1784
0 | 1.3176
0 | 1.4753
0 | 1.6354
0 | 1.7931
0 | 1.9344
0 | 2.0553
0 | 2.154
0 | 2.2336
0 | 2.3044
0 | 2.3768
0 | 2.4665
0 | 2.5801
0 | 2.723
0 | 2.8852
0 | 3.0457
0 | 3.1746
0 | 3.2329
0 | 3.1829
0 | 2.999
0 | 2.6587
0 | 2.175
0 | 1.5727
0 | 0.82009
0 | 0.16951
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
Result Above 10.000 µm | 66.297

## Calculations
Size | % In | Size (µm) | % in Interval
0.02 | 0 | 0.02 | 0
0.02244 | 0 | 0.02 | 0
0.025179 | 0 | 0.02244 | 0
0.028251 | 0 | 0.02244 | 0
0.031698 | 0 | 0.02244 | 0
0.035566 | 0 | 0.025179 | 0
0.039905 | 0 | 0.025179 | 0
0.044774 | 0 | 0.025179 | 0
0.050238 | 0 | 0.028251 | 0
0.056368 | 0 | 0.028251 | 0
0.063246 | 0 | 0.028251 | 0
0.070963 | 0 | 0.031698 | 0
0.079621 | 0 | 0.031698 | 0
0.089337 | 0 | 0.031698 | 0
0.10024 | 0 | 0.035566 | 0
0.11247 | 0 | 0.035566 | 0
0.12619 | 0 | 0.035566 | 0
0.14159 | 0 | 0.039905 | 0
0.15887 | 0 | 0.039905 | 0
0.17825 | 0 | 0.039905 | 0
0.2 | 0 | 0.044774 | 0
0.2244 | 0 | 0.044774 | 0
0.25178 | 0 | 0.044774 | 0
0.28251 | 0 | 0.050238 | 0
0.31698 | 0 | 0.050238 | 0
0.35566 | 0.13246 | 0.050238 | 0
0.39905 | 0.21272 | 0.056368 | 0
0.44774 | 0.33265 | 0.056368 | 0
0.50238 | 0.43162 | 0.056368 | 0
0.56368 | 0.54665 | 0.063246 | 0
0.63246 | 0.66091 | 0.063246 | 0
0.70963 | 0.7755 | 0.063246 | 0
0.79621 | 0.88787 | 0.070963 | 0
0.89337 | 0.99748 | 0.070963 | 0
1.0024 | 1.1046 | 0.070963 | 0
1.1247 | 1.2068 | 0.079621 | 0
1.2619 | 1.3052 | 0.079621 | 0
1.4159 | 1.3943 | 0.079621 | 0
1.5887 | 1.4748 | 0.089337 | 0
1.7825 | 1.5411 | 0.089337 | 0
2 | 1.5923 | 0.089337 | 0
2.244 | 1.6257 | 0.10024 | 0
2.5179 | 1.6406 | 0.10024 | 0
2.8251 | 1.6376 | 0.10024 | 0
3.1698 | 1.6185 | 0.11247 | 0
3.5566 | 1.5852 | 0.11247 | 0
3.9905 | 1.5424 | 0.11247 | 0
4.4774 | 1.493 | 0.12619 | 0
5.0238 | 1.4417 | 0.12619 | 0
5.6368 | 1.3918 | 0.12619 | 0
6.3246 | 1.3458 | 0.14159 | 0
7.0963 | 1.3055 | 0.14159 | 0
7.9621 | 1.2688 | 0.14159 | 0
8.9337 | 1.2346 | 0.15887 | 0
10.0237 | 1.1981 | 0.15887 | 0
11.2468 | 1.1571 | 0.15887 | 0
12.6191 | 1.1099 | 0.17825 | 0
14.1589 | 1.0578 | 0.17825 | 0
15.8866 | 1.0043 | 0.17825 | 0
17.825 | 0.954 | 0.2 | 0
20 | 0.91455 | 0.2 | 0
22.4404 | 0.89102 | 0.2 | 0
25.1785 | 0.89016 | 0.2244 | 0
28.2508 | 0.91664 | 0.2244 | 0
31.6979 | 0.97349 | 0.2244 | 0
35.5656 | 1.0611 | 0.25178 | 0
39.9052 | 1.1784 | 0.25178 | 0
44.7744 | 1.3176 | 0.25178 | 0
50.2377 | 1.4753 | 0.28251 | 0
56.3677 | 1.6354 | 0.28251 | 0
63.2456 | 1.7931 | 0.28251 | 0
70.9627 | 1.9344 | 0.31698 | 0
79.6214 | 2.0553 | 0.31698 | 0
89.3367 | 2.154 | 0.31698 | 0
100.2374 | 2.2336 | 0.35566 | 0
112.4683 | 2.3044 | 0.35566 | 0
126.1915 | 2.3768 | 0.35566 | 0.13246
141.5892 | 2.4665 | 0.39905 | 0.13246
158.8656 | 2.5801 | 0.39905 | 0
178.2502 | 2.723 | 0.39905 | 0.21272
200 | 2.8852 | 0.44774 | 0.21272
224.4037 | 3.0457 | 0.44774 | 0
251.7851 | 3.1746 | 0.44774 | 0.33265
282.5075 | 3.2329 | 0.50238 | 0.33265
316.9786 | 3.1829 | 0.50238 | 0
355.6559 | 2.999 | 0.50238 | 0.43162
399.0525 | 2.6587 | 0.56368 | 0.43162
447.7442 | 2.175 | 0.56368 | 0
502.3773 | 1.5727 | 0.56368 | 0.54665
563.6766 | 0.82009 | 0.63246 | 0.54665
632.4555 | 0.16951 | 0.63246 | 0
709.6268 | 0 | 0.63246 | 0.66091
796.2143 | 0 | 0.70963 | 0.66091
893.3672 | 0 | 0.70963 | 0
1002.3745 | 0 | 0.70963 | 0.7755
1124.6826 | 0 | 0.79621 | 0.7755
1261.9147 | 0 | 0.79621 | 0
1415.8916 | 0 | 0.79621 | 0.88787
1588.6565 | 0 | 0.89337 | 0.88787
1782.5019 | 0 | 0.89337 | 0
2000 | 66.297 | 0.89337 | 0.99748
|  | 1.0024 | 0.99748
|  | 1.0024 | 0
|  | 1.0024 | 1.1046
|  | 1.1247 | 1.1046
|  | 1.1247 | 0
|  | 1.1247 | 1.2068
|  | 1.2619 | 1.2068
|  | 1.2619 | 0
|  | 1.2619 | 1.3052
|  | 1.4159 | 1.3052
|  | 1.4159 | 0
|  | 1.4159 | 1.3943
|  | 1.5887 | 1.3943
|  | 1.5887 | 0
|  | 1.5887 | 1.4748
|  | 1.7825 | 1.4748
|  | 1.7825 | 0
|  | 1.7825 | 1.5411
|  | 2 | 1.5411
|  | 2 | 0
|  | 2 | 1.5923
|  | 2.244 | 1.5923
|  | 2.244 | 0
|  | 2.244 | 1.6257
|  | 2.5179 | 1.6257
|  | 2.5179 | 0
|  | 2.5179 | 1.6406
|  | 2.8251 | 1.6406
|  | 2.8251 | 0
|  | 2.8251 | 1.6376
|  | 3.1698 | 1.6376
|  | 3.1698 | 0
|  | 3.1698 | 1.6185
|  | 3.5566 | 1.6185
|  | 3.5566 | 0
|  | 3.5566 | 1.5852
|  | 3.9905 | 1.5852
|  | 3.9905 | 0
|  | 3.9905 | 1.5424
|  | 4.4774 | 1.5424
|  | 4.4774 | 0
|  | 4.4774 | 1.493
|  | 5.0238 | 1.493
|  | 5.0238 | 0
|  | 5.0238 | 1.4417
|  | 5.6368 | 1.4417
|  | 5.6368 | 0
|  | 5.6368 | 1.3918
|  | 6.3246 | 1.3918
|  | 6.3246 | 0
|  | 6.3246 | 1.3458
|  | 7.0963 | 1.3458
|  | 7.0963 | 0
|  | 7.0963 | 1.3055
|  | 7.9621 | 1.3055
|  | 7.9621 | 0
|  | 7.9621 | 1.2688
|  | 8.9337 | 1.2688
|  | 8.9337 | 0
|  | 8.9337 | 1.2346
|  | 10.0237 | 1.2346
|  | 10.0237 | 0
|  | 10.0237 | 1.1981
|  | 11.2468 | 1.1981
|  | 11.2468 | 0
|  | 11.2468 | 1.1571
|  | 12.6191 | 1.1571
|  | 12.6191 | 0
|  | 12.6191 | 1.1099
|  | 14.1589 | 1.1099
|  | 14.1589 | 0
|  | 14.1589 | 1.0578
|  | 15.8866 | 1.0578
|  | 15.8866 | 0
|  | 15.8866 | 1.0043
|  | 17.825 | 1.0043
|  | 17.825 | 0
|  | 17.825 | 0.954
|  | 20 | 0.954
|  | 20 | 0
|  | 20 | 0.91455
|  | 22.4404 | 0.91455
|  | 22.4404 | 0
|  | 22.4404 | 0.89102
|  | 25.1785 | 0.89102
|  | 25.1785 | 0
|  | 25.1785 | 0.89016
|  | 28.2508 | 0.89016
|  | 28.2508 | 0
|  | 28.2508 | 0.91664
|  | 31.6979 | 0.91664
|  | 31.6979 | 0
|  | 31.6979 | 0.97349
|  | 35.5656 | 0.97349
|  | 35.5656 | 0
|  | 35.5656 | 1.0611
|  | 39.9052 | 1.0611
|  | 39.9052 | 0
|  | 39.9052 | 1.1784
|  | 44.7744 | 1.1784
|  | 44.7744 | 0
|  | 44.7744 | 1.3176
|  | 50.2377 | 1.3176
|  | 50.2377 | 0
|  | 50.2377 | 1.4753
|  | 56.3677 | 1.4753
|  | 56.3677 | 0
|  | 56.3677 | 1.6354
|  | 63.2456 | 1.6354
|  | 63.2456 | 0
|  | 63.2456 | 1.7931
|  | 70.9627 | 1.7931
|  | 70.9627 | 0
|  | 70.9627 | 1.9344
|  | 79.6214 | 1.9344
|  | 79.6214 | 0
|  | 79.6214 | 2.0553
|  | 89.3367 | 2.0553
|  | 89.3367 | 0
|  | 89.3367 | 2.154
|  | 100.2374 | 2.154
|  | 100.2374 | 0
|  | 100.2374 | 2.2336
|  | 112.4683 | 2.2336
|  | 112.4683 | 0
|  | 112.4683 | 2.3044
|  | 126.1915 | 2.3044
|  | 126.1915 | 0
|  | 126.1915 | 2.3768
|  | 141.5892 | 2.3768
|  | 141.5892 | 0
|  | 141.5892 | 2.4665
|  | 158.8656 | 2.4665
|  | 158.8656 | 0
|  | 158.8656 | 2.5801
|  | 178.2502 | 2.5801
|  | 178.2502 | 0
|  | 178.2502 | 2.723
|  | 200 | 2.723
|  | 200 | 0
|  | 200 | 2.8852
|  | 224.4037 | 2.8852
|  | 224.4037 | 0
|  | 224.4037 | 3.0457
|  | 251.7851 | 3.0457
|  | 251.7851 | 0
|  | 251.7851 | 3.1746
|  | 282.5075 | 3.1746
|  | 282.5075 | 0
|  | 282.5075 | 3.2329
|  | 316.9786 | 3.2329
|  | 316.9786 | 0
|  | 316.9786 | 3.1829
|  | 355.6559 | 3.1829
|  | 355.6559 | 0
|  | 355.6559 | 2.999
|  | 399.0525 | 2.999
|  | 399.0525 | 0
|  | 399.0525 | 2.6587
|  | 447.7442 | 2.6587
|  | 447.7442 | 0
|  | 447.7442 | 2.175
|  | 502.3773 | 2.175
|  | 502.3773 | 0
|  | 502.3773 | 1.5727
|  | 563.6766 | 1.5727
|  | 563.6766 | 0
|  | 563.6766 | 0.82009
|  | 632.4555 | 0.82009
|  | 632.4555 | 0
|  | 632.4555 | 0.16951
|  | 709.6268 | 0.16951
|  | 709.6268 | 0
|  | 709.6268 | 0
|  | 796.2143 | 0
|  | 796.2143 | 0
|  | 796.2143 | 0
|  | 893.3672 | 0
|  | 893.3672 | 0
|  | 893.3672 | 0
|  | 1002.3745 | 0
|  | 1002.3745 | 0
|  | 1002.3745 | 0
|  | 1124.6826 | 0
|  | 1124.6826 | 0
|  | 1124.6826 | 0
|  | 1261.9147 | 0
|  | 1261.9147 | 0
|  | 1261.9147 | 0
|  | 1415.8916 | 0
|  | 1415.8916 | 0
|  | 1415.8916 | 0
|  | 1588.6565 | 0
|  | 1588.6565 | 0
|  | 1588.6565 | 0
|  | 1782.5019 | 0
|  | 1782.5019 | 0
|  | 1782.5019 | 0
|  | 2000 | 0
|  | 2000 | 0